{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":10,"n_cols":7,"rows_kept":10}
["货号","名称","规格","浓度/型别","价格（元/盒）","生产厂家","采购数量"]
["核酸类室内质控品"]
["BDS-IQC-004","乙型肝炎病毒脱氧核糖核酸（HBV DNA）血清（液体）室内质控品","0.5ml/管，20管/盒","S1-临界值：1.00E+03～1.00E+04 IU/ml;",2000,"广州邦德盛生物科技有限公司","2盒"]
["BDS-IQC-137","乙型肝炎病毒脱氧核糖核酸（HBV DNA）血清（液体）室内质控品","0.5ml/管，20管/盒","临界值3：200IU/ml",2000,"广州邦德盛生物科技有限公司","2盒"]
["BDS-IQC-214","丙型肝炎病毒核糖核酸（HCV RNA）血清（干粉）室内质控品","0.5ml/管，20管/盒","S1 - 低值：1.00E+03～1.00E+04 IU/ml ;",2000,"广州邦德盛生物科技有限公司","2盒"]
["BDS-IQC-143","丙型肝炎病毒核糖核酸（HCV RNA）血清（液体）室内质控品","0.5ml/管，20管/盒","低值3：200IU/ml",2000,"广州邦德盛生物科技有限公司","2盒"]
["BDS-IQC-024","沙眼衣原体脱氧核糖核酸（CT DNA）液体室内质控品","0.5ml/管，20管/盒","S1- 低值：1.00E+03～1.00E+04  copies/ml;",4000,"广州邦德盛生物科技有限公司","2盒"]
["BDS-IQC-121","解脲脲原体脱氧核糖核酸（UU DNA）液体室内质控品","0.5ml/管，20管/盒","临界值：1.00E+03～1.00E+04  copies/ml;",4000,"广州邦德盛生物科技有限公司","2盒"]
["BDS-IQC-058","结核杆菌脱氧核糖核酸（TB DNA）液体室内质控品","0.5ml/管，20管/盒","S1-低值:1.00E+03～1.00E+04 copies/ml;",4000,"广州邦德盛生物科技有限公司","2盒"]
["BDS-IQC-161","阴性质控品","0.5ml/管，20管/盒","不含分析物",2000,"广州邦德盛生物科技有限公司","2盒"]